Site Generator Failure

Engineering Reliability Record

Asset: GEN-02 — Diesel Generator G-02 | Site: Remote Production Site Alpha | Owner: Electrical / Facilities | Equipment class: diesel generator

Record classification: Realistic synthetic business data for training and workflow design. Site/OEM limits, approved procedures, and actual CMMS records govern field decisions.

# Reliability summary

| Metric | Current record value |
| --- | --- |
| Reporting window | January–September 2026 |
| Reliability owner | Electrical / Facilities |
| Service events logged | 15 |
| Criticality classification | High — production or personnel consequence possible |
| Primary measurement family | V, Hz, A, kW, % load, barg, °C, battery V, RPM |
| Latest verified condition | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| Current action state | Controlled operation with periodic review; apply OEM/site alarm and trip limits |

# Engineering reliability assessment

The asset history shows recurring exposure to battery/fuel delivery, lubrication/cooling, governor/AVR response, overload, breaker/interlock, exhaust condition, or mounting. Reliability review should combine condition-monitoring trends, work-order history, failure codes, operating context, and post-maintenance test results. A single numerical reading is not treated as a universal trip limit; the applicable OEM/site limit and approved operating envelope govern.

# Failure-mode register

| ID | Failure mode / event | Observed evidence | Reliability response | Verification |
| --- | --- | --- | --- | --- |
| FM-01 | Fails to start | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-02 | Low oil pressure | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-03 | High coolant temperature | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-04 | Low coolant level | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-05 | High exhaust temperature | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-06 | Low battery voltage | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-07 | Voltage instability | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-08 | Frequency instability | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-09 | Overload | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-10 | Underload | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-11 | Breaker failure | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-12 | Fuel restriction | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-13 | Excessive smoke | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-14 | Abnormal vibration | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |
| FM-15 | Trip during motor starting | 412 V; 49.6 Hz; 680 kW; 68 % load; 3.8 barg oil; 84 °C coolant; 24.8 V battery | Trend review, confirm measurement, safe-state/isolation as applicable, targeted corrective work, controlled return. | 414 V; 50.0 Hz; 675 kW; 67 % load; 4.1 barg oil; 82 °C coolant; 25.2 V battery |

# Recommended reliability controls

Maintain an asset-specific baseline for pressure, flow, temperature, vibration, load, current, and process quality as applicable.

Link every failure-mode record to a work order, responsible discipline, completion evidence, and post-maintenance verification reading.

Review repeat events monthly using failure codes and mean time between functional failures; escalate recurring events through the site reliability process.

Keep calibration, alignment, lubrication, inspection, and protection-test evidence attached to the asset record.

# Approval

Prepared by: Reliability Engineering  |  Reviewed by: Maintenance Superintendent  |  Approved by: Asset Manager
Signature/date: ______________________________